PLUMBING CHECKLIST

1. Toilets –all toilets should be checked for leakage. Toilets should be checked to make sure they are secure.

2. Plumbing companies can check toilet flappers and can test for leaks that the human eye can’t detect.

3. Lavatory drains and faucets should be inspected for leaks and proper drainage velocity.

4. Kitchen faucets, drains and disposers should be inspected for leaks and drainage velocity.

5. Tub, drain and shower valves should be inspected for leaks and drainage velocity.

6. Water heaters should be inspected for obvious signs of leakage.

7. Notes on all visible potential problems shall be made and the owner advised.

8. Check washing machine hoses, an often overlooked problem. 

9.  Check Sump Pumps to make sure they are functioning properly.

10. DON’T FORGET to make sure your commercial insurance policy is up to date. 

